## Labels
REGION | DESIGNATION |  | FAULT LEVEL | VALUE | OUTAGE CAUSE | VALUE
ASHANTI | A | 0 | L1 | 0 | CHARGING NETWORK | 0
BRONG AHAFO | B | 1 | L2 | 1 | CORE | 1
CENTRAL | C | 2 |  |  | FIBER | 2
EASTERN | D | 3 |  |  | HARDWARE | 3
GREATER ACCRA | E | 4 |  |  | HIGH TEMPERATURE | 4
NORTHERN | F | 5 |  |  | IP TRANSPORT | 5
UPPER EAST | G | 6 |  |  | MW TRANSPORT | 6
UPPER WEST | H | 7 |  |  | PLN WORK | 7
VOLTA | I | 8 |  |  | POWER | 8
WESTERN | J | 9 |  |  | UNDER INVESTIGATION | 9

## Data1
REGION | CAUSE | 2G | 3G | 4G | CATEGORY | START_TIME | END_TIME | MTTR | REF | Month
VOLTA | MW TRANSPORT | 4 | 1 |  | L2 | 2018-01-01 06:21 | 2018-01-01 07:36 | 0.052083 | 2018010100000026 | 2018-01-01 06:21
VOLTA | MW TRANSPORT | 4 | 1 |  | L2 | 2018-01-01 09:22 | 2018-01-01 14:14 | 0.20278 | 2018010100000051 | 2018-01-01 09:22
GREATER ACCRA | MW TRANSPORT | 2 |  |  | L2 | 2018-01-01 08:44 | 2018-01-02 23:11 | 1899-12-31 14:27 | 2018010100000056 | 2018-01-01 08:44
GREATER ACCRA | POWER | 1 | 1 |  | L2 | 2018-01-01 11:44 | 2018-01-01 16:09 | 0.18454 | 2018010100000076 | 2018-01-01 11:44
NORTHERN | HIGH TEMP | 5 | 2 |  | L1 | 2018-01-01 12:06 | 2018-01-01 12:39 | 0.022917 | 2018010100000079 | 2018-01-01 12:06
GREATER ACCRA | HIGH TEMP | 16 | 17 | 9 | L1 | 2018-01-01 18:00 | 2018-01-01 18:06 | 0.0040972 | 2018010100000114 | 2018-01-01 18:00
ASHANTI | UNDER INVESTIGATION | 3 | 3 |  | L2 | 2018-01-02 00:14 | 2018-01-02 00:43 | 0.020255 | 2018010200000001 | 2018-01-02 00:14
VOLTA | MW TRANSPORT | 4 | 1 |  | L2 | 2018-01-02 01:51 | 2018-01-02 07:07 | 0.21973 | 2018010200000008 | 2018-01-02 01:51
NORTHERN | POWER | 1 | 1 |  | L2 | 2018-01-02 07:40 | 2018-01-02 17:57 | 0.42825 | 2018010200000063 | 2018-01-02 07:40
NORTHERN,UPPER EAST,UPPER WEST,VOLTA | FIBER | 90 | 60 | 42 | L1 | 2018-01-02 14:30 | 2018-01-02 17:35 | 0.12809 | 2018010200000134 | 2018-01-02 14:30
BRONG AHAFO | POWER | 4 |  |  | L2 | 2018-01-02 18:55 | 2018-01-03 07:19 | 0.51623 | 2018010200000165 | 2018-01-02 18:55
CENTRAL | UNDER INVESTIGATION | 3 |  |  | L2 | 2018-01-02 20:31 | 2018-01-02 21:54 | 0.057222 | 2018010200000171 | 2018-01-02 20:31
BRONG AHAFO | MW TRANSPORT | 1 |  |  | L2 | 2018-01-02 20:33 | 2018-01-03 00:18 | 0.15608 | 2018010200000172 | 2018-01-02 20:33
CENTRAL | MW TRANSPORT | 6 | 4 |  | L1 | 2018-01-02 22:25 | 2018-01-03 06:05 | 0.31966 | 2018010200000180 | 2018-01-02 22:25
VOLTA | MW TRANSPORT | 4 | 1 |  | L2 | 2018-01-03 04:00 | 2018-01-03 12:12 | 0.34109 | 2018010300000005 | 2018-01-03 04:00
GREATER ACCRA | POWER | 16 | 16 | 3 | L1 | 2018-01-03 08:52 | 2018-01-03 08:57 | 0.0028125 | 2018010300000048 | 2018-01-03 08:52
CENTRAL | MW TRANSPORT | 18 | 10 | 2 | L1 | 2018-01-03 12:59 | 2018-01-03 13:06 | 0.0049306 | 2018010300000074 | 2018-01-03 12:59
ASHANTI | HIGH TEMP | 3 | 4 |  | L2 | 2018-01-03 16:25 | 2018-01-03 17:05 | 0.027222 | 2018010300000122 | 2018-01-03 16:25
GREATER ACCRA | PLN WORK | 16 | 15 | 3 | L1 | 2018-01-04 02:42 | 2018-01-04 03:50 | 0.047222 | 14382 | 2018-01-04 02:42
WESTERN | FIBER | 5 | 5 |  | L1 | 2018-01-04 04:28 | 2018-01-04 08:40 | 0.17447 | 2018010400000019 | 2018-01-04 04:28
VOLTA,GREATER ACCRA | MW TRANSPORT | 5 | 2 |  | L1 | 2018-01-04 07:41 | 2018-01-04 17:32 | 0.41005 | 2018010400000029 | 2018-01-04 07:41
BRONG AHAFO | MW TRANSPORT | 2 | 2 | 1 | L2 | 2018-01-04 07:39 | 2018-01-04 11:34 | 0.16346 | 2018010400000031 | 2018-01-04 07:39
CENTRAL | POWER | 9 | 8 | 2 | L1 | 2018-01-04 12:34 | 2018-01-04 12:38 | 0.0026968 | 2018010400000085 | 2018-01-04 12:34
CENTRAL,GREATER ACCRA | FIBER | 18 | 14 | 3 | L1 | 2018-01-04 14:38 | 2018-01-04 17:41 | 0.12684 | 2018010400000100 | 2018-01-04 14:38
BRONG AHAFO | MW TRANSPORT | 2 | 2 | 1 | L2 | 2018-01-05 08:27 | 2018-01-05 08:37 | 0.0069213 | 2018010500000043 | 2018-01-05 08:27
WESTERN | MW TRANSPORT | 26 |  |  | L1 | 2018-01-05 08:52 | 2018-01-05 08:54 | 0.0013889 | 2018010500000051 | 2018-01-05 08:52
WESTERN | POWER | 6 | 5 |  | L1 | 2018-01-05 10:00 | 2018-01-05 10:03 | 0.0020602 | 2018010500000071 | 2018-01-05 10:00
GREATER ACCRA | MW TRANSPORT |  |  | 1 | L2 | 2018-01-05 08:24 | 2018-01-06 08:54 | 1899-12-31 00:30 | 2018010500000121 | 2018-01-05 08:24
VOLTA | HIGH TEMP | 5 | 2 |  | L1 | 2018-01-05 13:01 | 2018-01-05 15:38 | 0.10903 | 2018010500000130 | 2018-01-05 13:01
ASHANTI | MW TRANSPORT | 27 | 12 |  | L1 | 2018-01-05 15:47 | 2018-01-05 15:51 | 0.0027315 | 2018010500000152 | 2018-01-05 15:47
WESTERN, ASHANTI | MW TRANSPORT | 26 |  |  | L1 | 2018-01-05 18:46 | 2018-01-05 23:40 | 0.20471 | 2018010500000167 | 2018-01-05 18:46
BRONG AHAFO | MW TRANSPORT | 2 | 2 | 1 | L2 | 2018-01-05 19:18 | 2018-01-05 19:34 | 0.010683 | 2018010500000174 | 2018-01-05 19:18
CENTRAL | MW TRANSPORT | 3 |  |  | L2 | 2018-01-06 00:47 | 2018-01-06 02:03 | 0.052315 | 2018010600000008 | 2018-01-06 00:47
GREATER ACCRA | MW TRANSPORT |  | 1 |  | L2 | 2018-01-06 01:40 | 2018-01-09 10:52 | 1900-01-02 09:12 | 2018010600000016 | 2018-01-06 01:40
VOLTA | MW TRANSPORT | 14 | 4 | 1 | L1 | 2018-01-06 07:29 | 2018-01-06 07:43 | 0.0097338 | 2018010600000041 | 2018-01-06 07:29
GREATER ACCRA | IP TRANSPORT | 7 | 1 |  | L1 | 2018-01-06 13:30 | 2018-01-06 18:51 | 0.22281 | 2018010600000081 | 2018-01-06 13:30
GREATER ACCRA | POWER | 1 | 1 |  | L2 | 2018-01-06 19:58 | 2018-01-08 10:50 | 1899-12-31 14:52 | 2018010600000119 | 2018-01-06 19:58
WESTERN | IP TRANSPORT | 3 |  |  | L2 | 2018-01-06 20:03 | 2018-01-07 08:50 | 0.53229 | 2018010600000129 | 2018-01-06 20:03
BRONG AHAFO | MW TRANSPORT | 2 |  |  | L2 | 2018-01-06 20:39 | 2018-01-07 06:33 | 0.41193 | 2018010600000134 | 2018-01-06 20:39
NORTHERN | MW TRANSPORT | 7 | 2 |  | L1 | 2018-01-07 04:54 | 2018-01-07 06:16 | 0.056412 | 2018010700000016 | 2018-01-07 04:54
Formulas:
MTTR = [END_TIME]-[START_TIME]
Month = [START_TIME]